## Test Agent Submission Instructi
Field Name | Required? | Field Values | Description
Test Agent Name | Yes |  | The name of the test agent
Top Screening Dose | Yes | Numbers only -- no letters or symbols | Top dose that your test agent should be screened at
Top Screening Dose unit | Yes, (pre-filled) | MICROMOLAR - µM | Top screening dose must be in MICROMOLARS (µM).
Full BRD | No | Full BRD (include batch string in the format): BRD-KXXXXXXXX-XXX-XX-X | Only applicable to test agents that are already registered with Broad Compound Management/already have a BRD#.
SMILES | No |  | The structure SMILES for the test agent, if known.
Amount | Yes, unless test agent has a BRD | Numbers only -- no letters or symbols | Depending on the submission type , the minimum volume is as follows MTS : (at least 150 µL), Combinations: (at least 400 µL), EPS: (at least 1000 µL) of your test agent should be submitted already solubilized in DMSO.
Units | Yes, unless test agent has a BRD | MICROLITER - (µL) | Should be in MICROLITERS (µL).
Supplier | Yes | Select from dropdown | Vendor name (If internally synthesized or your vendor's name is not listed, select Broad Institute)
Supplier Catalog Name | Yes |  | If from a vendor, please put the full catalog name. If internally synthesized, please put the test agent name.
Stock Concentration | Yes, unless test agent has a BRD | Numbers only -- no letters or symbols | Please put the numerical concentration of your test agent. Ensure your stock concentration is 1000x your desired screening dose.
Stock Concentration Units | Yes | Select from dropdown | Should be in MILLIMOLARS (mM)
Storage Conditions | Yes | Select from dropdown | Room temperature, 4°C, -20°C - Select how your compound should be stored once received in the PRISM lab before the screen begins
Has this test agent been QC'd in the last 6 months? | Yes | Yes/No
List cancer cell lines that have been previously tested with your test agent. | No | If multiple cancer cell lines, separate cell lines with commas
Target/MOA (if known) | No | If multiple targets/MOAs, separate targets/MOAs with commas
Is an SDS available for this test agent? | Yes | Yes/No
Is this test agent known to be an environmental or health hazard? | Yes | Yes/No
Is this test agent acutely toxic? | Yes | Yes/No